## schema_epica
archivo | columna_original | columna | tipo_inferido | filas | nulos | pct_nulos | cardinalidad | min | max
dataset_EPICA_raw.csv | Unnamed: 0.1 | unnamed_0_1 | entero | 22359 | 0 | 0 | 22359 | 0 | 22358
dataset_EPICA_raw.csv | Unnamed: 0 | unnamed_0 | entero | 22359 | 0 | 0 | 22359 | 0 | 22358
dataset_EPICA_raw.csv | TotW | tot_w | flotante | 22359 | 670 | 3 | 10506 | -6804.9517 | 8853.1279
dataset_EPICA_raw.csv | TotVar | tot_var | flotante | 22359 | 670 | 3 | 10102 | -1620.5952 | 2639.4373
dataset_EPICA_raw.csv | A.phsA | a_phs_a | flotante | 22359 | 670 | 3 | 330 | 0 | 12.125
dataset_EPICA_raw.csv | Phv.neut.ang | phv_neut_ang | flotante | 22359 | 670 | 3 | 17880 | -179.8874 | 179.9694
dataset_EPICA_raw.csv | modbus_speed | modbus_speed | entero | 22359 | 0 | 0 | 4 | -7489 | 0
dataset_EPICA_raw.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | booleano | 22359 | 0 | 0 | 2 | 0 | 1
dataset_EPICA_raw.csv | q2c_in_sync | q2c_in_sync | booleano | 22359 | 0 | 0 | 2 | 0 | 1
dataset_EPICA_raw.csv | gen1_p_negative | gen1_p_negative | booleano | 22359 | 0 | 0 | 2 | 0 | 1
dataset_EPICA_raw.csv | gen2_p_negative | gen2_p_negative | booleano | 22359 | 0 | 0 | 2 | 0 | 1
dataset_EPICA_raw.csv | status | status | categórico | 22359 | 0 | 0 | 3
FDIA1_1_custom_labelled_complete.csv | frame.number | frame_number | entero | 526 | 0 | 0 | 526 | 684 | 843072
FDIA1_1_custom_labelled_complete.csv | TotW | tot_w | flotante | 526 | 0 | 0 | 94 | 0 | 1663.0548
FDIA1_1_custom_labelled_complete.csv | TotVar | tot_var | flotante | 526 | 0 | 0 | 94 | -752.4692 | 260.1191
FDIA1_1_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 526 | 0 | 0 | 524 | -179.8218 | 177.5761
FDIA1_1_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 526 | 0 | 0 | 39 | 0 | 2.5
FDIA1_1_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 526 | 0 | 0 | 4 | 0 | 7502
FDIA1_1_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 526 | 0 | 0 | 3 | 0 | 7501
FDIA1_1_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 526 | 0 | 0 | 3 | -1 | 1
FDIA1_1_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 526 | 0 | 0 | 2 | 0 | 1
FDIA1_1_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 526 | 0 | 0 | 1 | 0 | 0
FDIA1_1_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 526 | 0 | 0 | 1 | 0 | 0
FDIA1_1_custom_labelled_complete.csv | label | label | categórico | 526 | 0 | 0 | 2
FDIA1_2_custom_labelled_complete.csv | frame.number | frame_number | entero | 788 | 0 | 0 | 788 | 1215 | 1223071
FDIA1_2_custom_labelled_complete.csv | TotW | tot_w | flotante | 788 | 0 | 0 | 111 | 0 | 1093.8981
FDIA1_2_custom_labelled_complete.csv | TotVar | tot_var | flotante | 788 | 0 | 0 | 111 | -673.912 | 140.9491
FDIA1_2_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 788 | 0 | 0 | 788 | -177.4203 | 178.3134
FDIA1_2_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 788 | 0 | 0 | 36 | 0 | 1.675
FDIA1_2_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 788 | 0 | 0 | 4 | 0 | 7502
FDIA1_2_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 788 | 0 | 0 | 2 | 7500 | 7501
FDIA1_2_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 788 | 0 | 0 | 3 | -1 | 1
FDIA1_2_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 788 | 0 | 0 | 2 | 0 | 1
FDIA1_2_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 788 | 0 | 0 | 1 | 0 | 0
FDIA1_2_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 788 | 0 | 0 | 1 | 0 | 0
FDIA1_2_custom_labelled_complete.csv | label | label | categórico | 788 | 0 | 0 | 2
FDIA1_3_custom_labelled_complete.csv | frame.number | frame_number | entero | 478 | 0 | 0 | 478 | 1181 | 738680
FDIA1_3_custom_labelled_complete.csv | TotW | tot_w | flotante | 478 | 0 | 0 | 72 | 0 | 1139.1346
FDIA1_3_custom_labelled_complete.csv | TotVar | tot_var | flotante | 478 | 0 | 0 | 72 | -542.0415 | 273.049
FDIA1_3_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 478 | 0 | 0 | 475 | -179.7947 | 179.9469
FDIA1_3_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 478 | 0 | 0 | 30 | 0 | 1.7
FDIA1_3_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 478 | 0 | 0 | 4 | 0 | 7502
FDIA1_3_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 478 | 0 | 0 | 2 | 7500 | 7501
FDIA1_3_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 478 | 0 | 0 | 3 | -1 | 1
FDIA1_3_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 478 | 0 | 0 | 2 | 0 | 1
FDIA1_3_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 478 | 0 | 0 | 1 | 0 | 0
FDIA1_3_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 478 | 0 | 0 | 1 | 0 | 0
FDIA1_3_custom_labelled_complete.csv | label | label | categórico | 478 | 0 | 0 | 2
FDIA1_4_custom_labelled_complete.csv | frame.number | frame_number | entero | 433 | 0 | 0 | 433 | 46 | 666166
FDIA1_4_custom_labelled_complete.csv | TotW | tot_w | flotante | 433 | 0 | 0 | 57 | -41.9527 | 1090.2764
FDIA1_4_custom_labelled_complete.csv | TotVar | tot_var | flotante | 433 | 0 | 0 | 57 | -37.6428 | 331.9035
FDIA1_4_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 433 | 0 | 0 | 433 | -177.5735 | 179.2348
FDIA1_4_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 433 | 0 | 0 | 33 | 0 | 1.5
FDIA1_4_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 433 | 0 | 0 | 4 | 0 | 7502
FDIA1_4_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 433 | 0 | 0 | 2 | 7500 | 7501
FDIA1_4_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 433 | 0 | 0 | 3 | -1 | 1
FDIA1_4_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 433 | 0 | 0 | 2 | 0 | 1
FDIA1_4_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 433 | 0 | 0 | 1 | 0 | 0
FDIA1_4_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 433 | 0 | 0 | 1 | 0 | 0
FDIA1_4_custom_labelled_complete.csv | label | label | categórico | 433 | 0 | 0 | 2
FDIA1_5_custom_labelled_complete.csv | frame.number | frame_number | entero | 382 | 0 | 0 | 382 | 1352 | 586839
FDIA1_5_custom_labelled_complete.csv | TotW | tot_w | flotante | 382 | 0 | 0 | 74 | -68.7904 | 2140.918
FDIA1_5_custom_labelled_complete.csv | TotVar | tot_var | flotante | 382 | 0 | 0 | 74 | -389.7922 | 609.0693
FDIA1_5_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 382 | 0 | 0 | 382 | -179.7993 | 178.9422
FDIA1_5_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 382 | 0 | 0 | 49 | 0 | 2.95
FDIA1_5_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 382 | 0 | 0 | 4 | 0 | 7502
FDIA1_5_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 382 | 0 | 0 | 2 | 7500 | 7501
FDIA1_5_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 382 | 0 | 0 | 3 | -1 | 1
FDIA1_5_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 382 | 0 | 0 | 2 | 0 | 1
FDIA1_5_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 382 | 0 | 0 | 2 | 0 | 1
FDIA1_5_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 382 | 0 | 0 | 1 | 0 | 0
FDIA1_5_custom_labelled_complete.csv | label | label | categórico | 382 | 0 | 0 | 2
FDIA2_0_custom_labelled_complete.csv | frame.number | frame_number | entero | 1277 | 0 | 0 | 1277 | 708 | 2095066
FDIA2_0_custom_labelled_complete.csv | TotW | tot_w | flotante | 1277 | 0 | 0 | 939 | -56.8505 | 683.0148
FDIA2_0_custom_labelled_complete.csv | TotVar | tot_var | flotante | 1277 | 0 | 0 | 954 | 0 | 320.193
FDIA2_0_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 1277 | 0 | 0 | 1000 | -179.8874 | 178.1995
FDIA2_0_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 1277 | 0 | 0 | 20 | 0 | 0.975
FDIA2_0_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 1277 | 0 | 0 | 3 | 7500 | 7502
FDIA2_0_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 1277 | 0 | 0 | 2 | 7500 | 7501
FDIA2_0_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 1277 | 0 | 0 | 3 | -1 | 1
FDIA2_0_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 1277 | 0 | 0 | 2 | 0 | 1
FDIA2_0_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 1277 | 0 | 0 | 1 | 0 | 0
FDIA2_0_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 1277 | 0 | 0 | 1 | 0 | 0
FDIA2_0_custom_labelled_complete.csv | label | label | categórico | 1277 | 0 | 0 | 2
FDIA2_1_custom_labelled_complete.csv | frame.number | frame_number | entero | 289 | 0 | 0 | 289 | 615 | 476227
FDIA2_1_custom_labelled_complete.csv | TotW | tot_w | flotante | 289 | 0 | 0 | 145 | 0 | 1669.9243
FDIA2_1_custom_labelled_complete.csv | TotVar | tot_var | flotante | 289 | 0 | 0 | 145 | -723.5068 | 236.0702
FDIA2_1_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 289 | 0 | 0 | 206 | -177.6588 | 178.3725
FDIA2_1_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 289 | 0 | 0 | 52 | 0 | 2.4
FDIA2_1_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 289 | 0 | 0 | 3 | 7500 | 7502
FDIA2_1_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 289 | 0 | 0 | 2 | 7500 | 7501
FDIA2_1_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 289 | 0 | 0 | 3 | -1 | 1
FDIA2_1_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 289 | 0 | 0 | 2 | 0 | 1
FDIA2_1_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 289 | 0 | 0 | 1 | 0 | 0
FDIA2_1_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 289 | 0 | 0 | 1 | 0 | 0
FDIA2_1_custom_labelled_complete.csv | label | label | categórico | 289 | 0 | 0 | 2
FDIA2_2_custom_labelled_complete.csv | frame.number | frame_number | entero | 238 | 0 | 0 | 238 | 696 | 392979
FDIA2_2_custom_labelled_complete.csv | TotW | tot_w | flotante | 238 | 0 | 0 | 154 | -87.648 | 3289.1311
FDIA2_2_custom_labelled_complete.csv | TotVar | tot_var | flotante | 238 | 0 | 0 | 154 | -719.7038 | 604.0953
FDIA2_2_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 238 | 0 | 0 | 156 | -153.2066 | 179.4749
FDIA2_2_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 238 | 0 | 0 | 92 | 0 | 4.525
FDIA2_2_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 238 | 0 | 0 | 3 | 7500 | 7502
FDIA2_2_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 238 | 0 | 0 | 2 | 7500 | 7501
FDIA2_2_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 238 | 0 | 0 | 3 | -1 | 1
FDIA2_2_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 238 | 0 | 0 | 2 | 0 | 1
FDIA2_2_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 238 | 0 | 0 | 2 | 0 | 1
FDIA2_2_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 238 | 0 | 0 | 1 | 0 | 0
FDIA2_2_custom_labelled_complete.csv | label | label | categórico | 238 | 0 | 0 | 2
FDIA2_3_custom_labelled_complete.csv | frame.number | frame_number | entero | 250 | 0 | 0 | 250 | 999 | 414370
FDIA2_3_custom_labelled_complete.csv | TotW | tot_w | flotante | 250 | 0 | 0 | 135 | -31.1356 | 2184.7659
FDIA2_3_custom_labelled_complete.csv | TotVar | tot_var | flotante | 250 | 0 | 0 | 135 | -1620.5952 | 452.6791
FDIA2_3_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 250 | 0 | 0 | 138 | -179.642 | 173.8912
FDIA2_3_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 250 | 0 | 0 | 86 | 0 | 3.7
FDIA2_3_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 250 | 0 | 0 | 3 | 7500 | 7502
FDIA2_3_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 250 | 0 | 0 | 2 | 7500 | 7501
FDIA2_3_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 250 | 0 | 0 | 3 | -1 | 1
FDIA2_3_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 250 | 0 | 0 | 2 | 0 | 1
FDIA2_3_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 250 | 0 | 0 | 1 | 0 | 0
FDIA2_3_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 250 | 0 | 0 | 1 | 0 | 0
FDIA2_3_custom_labelled_complete.csv | label | label | categórico | 250 | 0 | 0 | 2
FDIA2_4_custom_labelled_complete.csv | frame.number | frame_number | entero | 351 | 0 | 0 | 351 | 1014 | 581005
FDIA2_4_custom_labelled_complete.csv | TotW | tot_w | flotante | 351 | 0 | 0 | 151 | -77.4828 | 2213.1128
FDIA2_4_custom_labelled_complete.csv | TotVar | tot_var | flotante | 351 | 0 | 0 | 151 | 0 | 576.9438
FDIA2_4_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 351 | 0 | 0 | 142 | -175.1661 | 178.8024
FDIA2_4_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 351 | 0 | 0 | 72 | 0 | 3.075
FDIA2_4_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 351 | 0 | 0 | 3 | 7500 | 7502
FDIA2_4_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 351 | 0 | 0 | 2 | 7500 | 7501
FDIA2_4_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 351 | 0 | 0 | 3 | -1 | 1
FDIA2_4_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 351 | 0 | 0 | 2 | 0 | 1
FDIA2_4_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 351 | 0 | 0 | 2 | 0 | 1
FDIA2_4_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 351 | 0 | 0 | 1 | 0 | 0
FDIA2_4_custom_labelled_complete.csv | label | label | categórico | 351 | 0 | 0 | 2
FDIA2_5_custom_labelled_complete.csv | frame.number | frame_number | entero | 344 | 0 | 0 | 344 | 1330 | 568385
FDIA2_5_custom_labelled_complete.csv | TotW | tot_w | flotante | 344 | 0 | 0 | 220 | -31.6306 | 3567.5886
FDIA2_5_custom_labelled_complete.csv | TotVar | tot_var | flotante | 344 | 0 | 0 | 220 | -619.7053 | 745.467
FDIA2_5_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 344 | 0 | 0 | 241 | -106 | 170.7261
FDIA2_5_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 344 | 0 | 0 | 111 | 0 | 4.925
FDIA2_5_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 344 | 0 | 0 | 3 | 7500 | 7502
FDIA2_5_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 344 | 0 | 0 | 2 | 7500 | 7501
FDIA2_5_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 344 | 0 | 0 | 3 | -1 | 1
FDIA2_5_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 344 | 0 | 0 | 2 | 0 | 1
FDIA2_5_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 344 | 0 | 0 | 1 | 0 | 0
FDIA2_5_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 344 | 0 | 0 | 1 | 0 | 0
FDIA2_5_custom_labelled_complete.csv | label | label | categórico | 344 | 0 | 0 | 2
FDIA2_6_custom_labelled_complete.csv | frame.number | frame_number | entero | 399 | 0 | 0 | 399 | 412 | 658217
FDIA2_6_custom_labelled_complete.csv | TotW | tot_w | flotante | 399 | 0 | 0 | 236 | 0 | 3155.679
FDIA2_6_custom_labelled_complete.csv | TotVar | tot_var | flotante | 399 | 0 | 0 | 236 | -555.1163 | 701.4619
FDIA2_6_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 399 | 0 | 0 | 252 | -179.7917 | 178.4025
FDIA2_6_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 399 | 0 | 0 | 100 | 0 | 4.325
FDIA2_6_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 399 | 0 | 0 | 3 | 7500 | 7502
FDIA2_6_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 399 | 0 | 0 | 2 | 7500 | 7501
FDIA2_6_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 399 | 0 | 0 | 3 | -1 | 1
FDIA2_6_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 399 | 0 | 0 | 2 | 0 | 1
FDIA2_6_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 399 | 0 | 0 | 1 | 0 | 0
FDIA2_6_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 399 | 0 | 0 | 1 | 0 | 0
FDIA2_6_custom_labelled_complete.csv | label | label | categórico | 399 | 0 | 0 | 2
FDIA2_7_custom_labelled_complete.csv | frame.number | frame_number | entero | 316 | 0 | 0 | 316 | 457 | 519566
FDIA2_7_custom_labelled_complete.csv | TotW | tot_w | flotante | 316 | 0 | 0 | 255 | -122.4537 | 3845.3101
FDIA2_7_custom_labelled_complete.csv | TotVar | tot_var | flotante | 316 | 0 | 0 | 255 | -588.2559 | 865.5424
FDIA2_7_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 316 | 0 | 0 | 155 | -179.6387 | 134.3909
FDIA2_7_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 316 | 0 | 0 | 123 | 0 | 5.325
FDIA2_7_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 316 | 0 | 0 | 3 | 7500 | 7502
FDIA2_7_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 316 | 0 | 0 | 2 | 7500 | 7501
FDIA2_7_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 316 | 0 | 0 | 3 | -1 | 1
FDIA2_7_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 316 | 0 | 0 | 2 | 0 | 1
FDIA2_7_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 316 | 0 | 0 | 1 | 0 | 0
FDIA2_7_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 316 | 0 | 0 | 1 | 0 | 0
FDIA2_7_custom_labelled_complete.csv | label | label | categórico | 316 | 0 | 0 | 2
FDIA3_0_custom_labelled_complete.csv | frame.number | frame_number | entero | 602 | 0 | 0 | 602 | 582 | 992641
FDIA3_0_custom_labelled_complete.csv | TotW | tot_w | flotante | 602 | 0 | 0 | 505 | -6804.9517 | 4327.0718
FDIA3_0_custom_labelled_complete.csv | TotVar | tot_var | flotante | 602 | 0 | 0 | 502 | -979.4848 | 2147.6665
FDIA3_0_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 602 | 0 | 0 | 594 | -178.3134 | 178.5079
FDIA3_0_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 602 | 0 | 0 | 194 | 0 | 9.875
FDIA3_0_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 602 | 0 | 0 | 2 | 7500 | 7501
FDIA3_0_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 602 | 0 | 0 | 2 | 7500 | 7501
FDIA3_0_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 602 | 0 | 0 | 1 | -1 | -1
FDIA3_0_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 602 | 0 | 0 | 1 | 0 | 0
FDIA3_0_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 602 | 0 | 0 | 2 | 0 | 1
FDIA3_0_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 602 | 0 | 0 | 2 | 0 | 1
FDIA3_0_custom_labelled_complete.csv | label | label | categórico | 602 | 0 | 0 | 2
FDIA3_1_custom_labelled_complete.csv | frame.number | frame_number | entero | 358 | 0 | 0 | 358 | 271 | 589154
FDIA3_1_custom_labelled_complete.csv | TotW | tot_w | flotante | 358 | 0 | 0 | 270 | -2506.8787 | 1646.2378
FDIA3_1_custom_labelled_complete.csv | TotVar | tot_var | flotante | 358 | 0 | 0 | 269 | 0 | 1219.9253
FDIA3_1_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 358 | 0 | 0 | 357 | -0.2115 | 177.2294
FDIA3_1_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 358 | 0 | 0 | 99 | 0 | 3.85
FDIA3_1_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 358 | 0 | 0 | 3 | 7500 | 7502
FDIA3_1_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 358 | 0 | 0 | 2 | 7500 | 7501
FDIA3_1_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 358 | 0 | 0 | 3 | -1 | 1
FDIA3_1_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 358 | 0 | 0 | 2 | 0 | 1
FDIA3_1_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 358 | 0 | 0 | 2 | 0 | 1
FDIA3_1_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 358 | 0 | 0 | 2 | 0 | 1
FDIA3_1_custom_labelled_complete.csv | label | label | categórico | 358 | 0 | 0 | 2
FDIA3_2_custom_labelled_complete.csv | frame.number | frame_number | entero | 302 | 0 | 0 | 302 | 1971 | 498320
FDIA3_2_custom_labelled_complete.csv | TotW | tot_w | flotante | 302 | 0 | 0 | 246 | -1880.2676 | 1680.488
FDIA3_2_custom_labelled_complete.csv | TotVar | tot_var | flotante | 302 | 0 | 0 | 246 | 0 | 1069.499
FDIA3_2_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 302 | 0 | 0 | 300 | -173.1308 | 179.2049
FDIA3_2_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 302 | 0 | 0 | 79 | 0 | 3.025
FDIA3_2_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 302 | 0 | 0 | 3 | 7500 | 7502
FDIA3_2_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 302 | 0 | 0 | 2 | 7500 | 7501
FDIA3_2_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 302 | 0 | 0 | 3 | -1 | 1
FDIA3_2_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 302 | 0 | 0 | 2 | 0 | 1
FDIA3_2_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 302 | 0 | 0 | 2 | 0 | 1
FDIA3_2_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 302 | 0 | 0 | 2 | 0 | 1
FDIA3_2_custom_labelled_complete.csv | label | label | categórico | 302 | 0 | 0 | 2
FDIA3_3_custom_labelled_complete.csv | frame.number | frame_number | entero | 507 | 0 | 0 | 507 | 1401 | 834671
FDIA3_3_custom_labelled_complete.csv | TotW | tot_w | flotante | 507 | 0 | 0 | 451 | -3390.0591 | 1677.9889
FDIA3_3_custom_labelled_complete.csv | TotVar | tot_var | flotante | 507 | 0 | 0 | 448 | 0 | 1433.842
FDIA3_3_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 507 | 0 | 0 | 499 | -176.8912 | 177.716
FDIA3_3_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 507 | 0 | 0 | 130 | 0 | 5.025
FDIA3_3_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 507 | 0 | 0 | 3 | 7500 | 7502
FDIA3_3_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 507 | 0 | 0 | 2 | 7500 | 7501
FDIA3_3_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 507 | 0 | 0 | 3 | -1 | 1
FDIA3_3_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 507 | 0 | 0 | 2 | 0 | 1
FDIA3_3_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 507 | 0 | 0 | 2 | 0 | 1
FDIA3_3_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 507 | 0 | 0 | 2 | 0 | 1
FDIA3_3_custom_labelled_complete.csv | label | label | categórico | 507 | 0 | 0 | 2
FDIA3_4_custom_labelled_complete.csv | frame.number | frame_number | entero | 451 | 0 | 0 | 451 | 1239 | 742845
FDIA3_4_custom_labelled_complete.csv | TotW | tot_w | flotante | 451 | 0 | 0 | 423 | -3880.5986 | 2754.8645
FDIA3_4_custom_labelled_complete.csv | TotVar | tot_var | flotante | 451 | 0 | 0 | 424 | 0 | 1815.0868
FDIA3_4_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 451 | 0 | 0 | 445 | -0.27003 | 116.3603
FDIA3_4_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 451 | 0 | 0 | 154 | 0 | 5.875
FDIA3_4_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 451 | 0 | 0 | 3 | 7500 | 7502
FDIA3_4_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 451 | 0 | 0 | 2 | 7500 | 7501
FDIA3_4_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 451 | 0 | 0 | 3 | -1 | 1
FDIA3_4_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 451 | 0 | 0 | 2 | 0 | 1
FDIA3_4_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 451 | 0 | 0 | 2 | 0 | 1
FDIA3_4_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 451 | 0 | 0 | 2 | 0 | 1
FDIA3_4_custom_labelled_complete.csv | label | label | categórico | 451 | 0 | 0 | 2
FDIA3_5_custom_labelled_complete.csv | frame.number | frame_number | entero | 384 | 0 | 0 | 384 | 1221 | 634292
FDIA3_5_custom_labelled_complete.csv | TotW | tot_w | flotante | 384 | 0 | 0 | 297 | -3572.5989 | 185.6424
FDIA3_5_custom_labelled_complete.csv | TotVar | tot_var | flotante | 384 | 0 | 0 | 295 | 0 | 2639.4373
FDIA3_5_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 384 | 0 | 0 | 384 | -178.8027 | 179.5365
FDIA3_5_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 384 | 0 | 0 | 102 | 0 | 6.25
FDIA3_5_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 384 | 0 | 0 | 3 | 7500 | 7502
FDIA3_5_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 384 | 0 | 0 | 2 | 7500 | 7501
FDIA3_5_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 384 | 0 | 0 | 3 | -1 | 1
FDIA3_5_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 384 | 0 | 0 | 2 | 0 | 1
FDIA3_5_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 384 | 0 | 0 | 2 | 0 | 1
FDIA3_5_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 384 | 0 | 0 | 2 | 0 | 1
FDIA3_5_custom_labelled_complete.csv | label | label | categórico | 384 | 0 | 0 | 2
FDIA4_0_custom_labelled_complete.csv | frame.number | frame_number | entero | 422 | 0 | 0 | 422 | 917 | 690448
FDIA4_0_custom_labelled_complete.csv | TotW | tot_w | flotante | 422 | 0 | 0 | 295 | -6457.2935 | 1131.4806
FDIA4_0_custom_labelled_complete.csv | TotVar | tot_var | flotante | 422 | 0 | 0 | 294 | 0 | 2230.3042
FDIA4_0_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 422 | 0 | 0 | 419 | -179.3015 | 176.6776
FDIA4_0_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 422 | 0 | 0 | 39 | 0 | 9.475
FDIA4_0_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 422 | 0 | 0 | 5 | 0 | 7502
FDIA4_0_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 422 | 0 | 0 | 2 | 7500 | 7501
FDIA4_0_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 422 | 0 | 0 | 3 | -1 | 1
FDIA4_0_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 422 | 0 | 0 | 2 | 0 | 1
FDIA4_0_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 422 | 0 | 0 | 2 | 0 | 1
FDIA4_0_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 422 | 0 | 0 | 1 | 0 | 0
FDIA4_0_custom_labelled_complete.csv | label | label | categórico | 422 | 0 | 0 | 2
FDIA4_1_custom_labelled_complete.csv | frame.number | frame_number | entero | 401 | 0 | 0 | 401 | 1091 | 658622
FDIA4_1_custom_labelled_complete.csv | TotW | tot_w | flotante | 401 | 0 | 0 | 308 | -4058.804 | 1127.1826
FDIA4_1_custom_labelled_complete.csv | TotVar | tot_var | flotante | 401 | 0 | 0 | 308 | 0 | 1795.3237
FDIA4_1_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 401 | 0 | 0 | 399 | -48.9686 | 91.3941
FDIA4_1_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 401 | 0 | 0 | 128 | 0 | 6.175
FDIA4_1_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 401 | 0 | 0 | 4 | 7498 | 7502
FDIA4_1_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 401 | 0 | 0 | 2 | 7500 | 7501
FDIA4_1_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 401 | 0 | 0 | 3 | -1 | 1
FDIA4_1_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 401 | 0 | 0 | 2 | 0 | 1
FDIA4_1_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 401 | 0 | 0 | 2 | 0 | 1
FDIA4_1_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 401 | 0 | 0 | 1 | 0 | 0
FDIA4_1_custom_labelled_complete.csv | label | label | categórico | 401 | 0 | 0 | 2
FDIA4_2_custom_labelled_complete.csv | frame.number | frame_number | entero | 456 | 0 | 0 | 456 | 1435 | 750888
FDIA4_2_custom_labelled_complete.csv | TotW | tot_w | flotante | 456 | 0 | 0 | 306 | -2303.9238 | 2191.9009
FDIA4_2_custom_labelled_complete.csv | TotVar | tot_var | flotante | 456 | 0 | 0 | 305 | 0 | 1598.3451
FDIA4_2_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 456 | 0 | 0 | 455 | -179.8277 | 179.4496
FDIA4_2_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 456 | 0 | 0 | 93 | 0 | 3.85
FDIA4_2_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 456 | 0 | 0 | 4 | 7499 | 7502
FDIA4_2_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 456 | 0 | 0 | 2 | 7500 | 7501
FDIA4_2_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 456 | 0 | 0 | 3 | -1 | 1
FDIA4_2_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 456 | 0 | 0 | 2 | 0 | 1
FDIA4_2_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 456 | 0 | 0 | 2 | 0 | 1
FDIA4_2_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 456 | 0 | 0 | 1 | 0 | 0
FDIA4_2_custom_labelled_complete.csv | label | label | categórico | 456 | 0 | 0 | 2
FDIA4_3_custom_labelled_complete.csv | frame.number | frame_number | entero | 642 | 0 | 0 | 642 | 1076 | 1058223
FDIA4_3_custom_labelled_complete.csv | TotW | tot_w | flotante | 642 | 0 | 0 | 479 | -5539.8984 | 3393.0654
FDIA4_3_custom_labelled_complete.csv | TotVar | tot_var | flotante | 642 | 0 | 0 | 478 | 0 | 2564.2722
FDIA4_3_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 642 | 0 | 0 | 635 | -174.1852 | 179.826
FDIA4_3_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 642 | 0 | 0 | 187 | 0 | 8.475
FDIA4_3_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 642 | 0 | 0 | 4 | 7497 | 7502
FDIA4_3_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 642 | 0 | 0 | 2 | 7500 | 7501
FDIA4_3_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 642 | 0 | 0 | 3 | -1 | 1
FDIA4_3_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 642 | 0 | 0 | 2 | 0 | 1
FDIA4_3_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 642 | 0 | 0 | 2 | 0 | 1
FDIA4_3_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 642 | 0 | 0 | 1 | 0 | 0
FDIA4_3_custom_labelled_complete.csv | label | label | categórico | 642 | 0 | 0 | 2
FDIA4_5_custom_labelled_complete.csv | frame.number | frame_number | entero | 409 | 0 | 0 | 409 | 974 | 674462
FDIA4_5_custom_labelled_complete.csv | TotW | tot_w | flotante | 409 | 0 | 0 | 337 | -5461.9937 | 1668.6326
FDIA4_5_custom_labelled_complete.csv | TotVar | tot_var | flotante | 409 | 0 | 0 | 337 | 0 | 2142.7769
FDIA4_5_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 409 | 0 | 0 | 407 | -177.3602 | 177.4128
FDIA4_5_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 409 | 0 | 0 | 141 | 0 | 8.125
FDIA4_5_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 409 | 0 | 0 | 4 | 7490 | 7502
FDIA4_5_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 409 | 0 | 0 | 2 | 7500 | 7501
FDIA4_5_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 409 | 0 | 0 | 3 | -1 | 1
FDIA4_5_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 409 | 0 | 0 | 2 | 0 | 1
FDIA4_5_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 409 | 0 | 0 | 2 | 0 | 1
FDIA4_5_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 409 | 0 | 0 | 1 | 0 | 0
FDIA4_5_custom_labelled_complete.csv | label | label | categórico | 409 | 0 | 0 | 2
TDA1_0_custom_labelled_complete.csv | frame.number | frame_number | entero | 1445 | 0 | 0 | 1445 | 1099 | 2366926
TDA1_0_custom_labelled_complete.csv | TotW | tot_w | flotante | 1445 | 0 | 0 | 184 | 0 | 636.5227
TDA1_0_custom_labelled_complete.csv | TotVar | tot_var | flotante | 1445 | 0 | 0 | 182 | 0 | 446.4134
TDA1_0_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 1445 | 0 | 0 | 1445 | -179.1926 | 176.4367
TDA1_0_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 1445 | 0 | 0 | 18 | 0 | 0.925
TDA1_0_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 1445 | 0 | 0 | 3 | 7500 | 7502
TDA1_0_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 1445 | 0 | 0 | 2 | 7500 | 7501
TDA1_0_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 1445 | 0 | 0 | 3 | -1 | 1
TDA1_0_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 1445 | 0 | 0 | 2 | 0 | 1
TDA1_0_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 1445 | 0 | 0 | 1 | 0 | 0
TDA1_0_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 1445 | 0 | 0 | 1 | 0 | 0
TDA1_0_custom_labelled_complete.csv | label | label | categórico | 1445 | 0 | 0 | 2
TDA1_1_custom_labelled_complete.csv | frame.number | frame_number | entero | 432 | 0 | 0 | 432 | 1042 | 727158
TDA1_1_custom_labelled_complete.csv | TotW | tot_w | flotante | 432 | 0 | 0 | 85 | 0 | 1153.6219
TDA1_1_custom_labelled_complete.csv | TotVar | tot_var | flotante | 432 | 0 | 0 | 85 | -468.4944 | 272.5178
TDA1_1_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 432 | 0 | 0 | 432 | -177.6466 | 177.5684
TDA1_1_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 432 | 0 | 0 | 33 | 0 | 1.625
TDA1_1_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 432 | 0 | 0 | 3 | 7500 | 7502
TDA1_1_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 432 | 0 | 0 | 2 | 7500 | 7501
TDA1_1_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 432 | 0 | 0 | 3 | -1 | 1
TDA1_1_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 432 | 0 | 0 | 2 | 0 | 1
TDA1_1_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 432 | 0 | 0 | 1 | 0 | 0
TDA1_1_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 432 | 0 | 0 | 1 | 0 | 0
TDA1_1_custom_labelled_complete.csv | label | label | categórico | 432 | 0 | 0 | 2
TDA1_2_custom_labelled_complete.csv | frame.number | frame_number | entero | 666 | 0 | 0 | 666 | 702 | 1121875
TDA1_2_custom_labelled_complete.csv | TotW | tot_w | flotante | 666 | 0 | 0 | 120 | -98.1755 | 1169.1475
TDA1_2_custom_labelled_complete.csv | TotVar | tot_var | flotante | 666 | 0 | 0 | 120 | 0 | 397.9776
TDA1_2_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 666 | 0 | 0 | 665 | -178.8216 | 178.7805
TDA1_2_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 666 | 0 | 0 | 42 | 0 | 1.6
TDA1_2_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 666 | 0 | 0 | 3 | 7500 | 7502
TDA1_2_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 666 | 0 | 0 | 2 | 7500 | 7501
TDA1_2_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 666 | 0 | 0 | 3 | -1 | 1
TDA1_2_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 666 | 0 | 0 | 2 | 0 | 1
TDA1_2_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 666 | 0 | 0 | 1 | 0 | 0
TDA1_2_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 666 | 0 | 0 | 1 | 0 | 0
TDA1_2_custom_labelled_complete.csv | label | label | categórico | 666 | 0 | 0 | 2
TDA1_3_custom_labelled_complete.csv | frame.number | frame_number | entero | 692 | 0 | 0 | 692 | 1346 | 1163814
TDA1_3_custom_labelled_complete.csv | TotW | tot_w | flotante | 692 | 0 | 0 | 107 | -183.3244 | 1875.1003
TDA1_3_custom_labelled_complete.csv | TotVar | tot_var | flotante | 692 | 0 | 0 | 107 | 0 | 601.6083
TDA1_3_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 692 | 0 | 0 | 692 | -179.653 | 176.8826
TDA1_3_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 692 | 0 | 0 | 47 | 0 | 2.575
TDA1_3_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 692 | 0 | 0 | 3 | 7500 | 7502
TDA1_3_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 692 | 0 | 0 | 2 | 7500 | 7501
TDA1_3_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 692 | 0 | 0 | 3 | -1 | 1
TDA1_3_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 692 | 0 | 0 | 2 | 0 | 1
TDA1_3_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 692 | 0 | 0 | 1 | 0 | 0
TDA1_3_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 692 | 0 | 0 | 1 | 0 | 0
TDA1_3_custom_labelled_complete.csv | label | label | categórico | 692 | 0 | 0 | 2
TDA1_4_custom_labelled_complete.csv | frame.number | frame_number | entero | 726 | 0 | 0 | 726 | 325 | 1219764
TDA1_4_custom_labelled_complete.csv | TotW | tot_w | flotante | 726 | 0 | 0 | 111 | -2497.0391 | 1147.2355
TDA1_4_custom_labelled_complete.csv | TotVar | tot_var | flotante | 726 | 0 | 0 | 110 | 0 | 609.5764
TDA1_4_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 726 | 0 | 0 | 726 | -179.407 | 178.4934
TDA1_4_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 726 | 0 | 0 | 45 | 0 | 3.575
TDA1_4_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 726 | 0 | 0 | 3 | 7500 | 7502
TDA1_4_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 726 | 0 | 0 | 2 | 7500 | 7501
TDA1_4_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 726 | 0 | 0 | 3 | -1 | 1
TDA1_4_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 726 | 0 | 0 | 2 | 0 | 1
TDA1_4_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 726 | 0 | 0 | 2 | 0 | 1
TDA1_4_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 726 | 0 | 0 | 1 | 0 | 0
TDA1_4_custom_labelled_complete.csv | label | label | categórico | 726 | 0 | 0 | 2
TDA1_5_custom_labelled_complete.csv | frame.number | frame_number | entero | 873 | 0 | 0 | 873 | 28 | 1467785
TDA1_5_custom_labelled_complete.csv | TotW | tot_w | flotante | 873 | 0 | 0 | 122 | -435.1858 | 1341.3407
TDA1_5_custom_labelled_complete.csv | TotVar | tot_var | flotante | 873 | 0 | 0 | 122 | 0 | 557.4463
TDA1_5_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 873 | 0 | 0 | 872 | -179.5603 | 178.3362
TDA1_5_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 873 | 0 | 0 | 45 | 0 | 1.875
TDA1_5_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 873 | 0 | 0 | 3 | 7500 | 7502
TDA1_5_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 873 | 0 | 0 | 2 | 7500 | 7501
TDA1_5_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 873 | 0 | 0 | 3 | -1 | 1
TDA1_5_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 873 | 0 | 0 | 2 | 0 | 1
TDA1_5_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 873 | 0 | 0 | 2 | 0 | 1
TDA1_5_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 873 | 0 | 0 | 1 | 0 | 0
TDA1_5_custom_labelled_complete.csv | label | label | categórico | 873 | 0 | 0 | 2
TDA2_0_custom_labelled_complete.csv | frame.number | frame_number | entero | 1311 | 0 | 0 | 1311 | 131 | 2116271
TDA2_0_custom_labelled_complete.csv | TotW | tot_w | flotante | 1311 | 0 | 0 | 1185 | -639.7461 | 1155.2759
TDA2_0_custom_labelled_complete.csv | TotVar | tot_var | flotante | 1311 | 0 | 0 | 1182 | -213.9167 | 693.0593
TDA2_0_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 1311 | 0 | 0 | 1186 | -0.22141 | 67.6027
TDA2_0_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 1311 | 0 | 0 | 45 | 0 | 1.625
TDA2_0_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 1311 | 0 | 0 | 3 | 7500 | 7502
TDA2_0_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 1311 | 0 | 0 | 2 | 7500 | 7501
TDA2_0_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 1311 | 0 | 0 | 3 | -1 | 1
TDA2_0_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 1311 | 0 | 0 | 2 | 0 | 1
TDA2_0_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 1311 | 0 | 0 | 2 | 0 | 1
TDA2_0_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 1311 | 0 | 0 | 1 | 0 | 0
TDA2_0_custom_labelled_complete.csv | label | label | categórico | 1311 | 0 | 0 | 2
TDA2_1_custom_labelled_complete.csv | frame.number | frame_number | entero | 690 | 0 | 0 | 690 | 693 | 1138764
TDA2_1_custom_labelled_complete.csv | TotW | tot_w | flotante | 690 | 0 | 0 | 583 | 0 | 4196.4092
TDA2_1_custom_labelled_complete.csv | TotVar | tot_var | flotante | 690 | 0 | 0 | 582 | 0 | 1223.5834
TDA2_1_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 690 | 0 | 0 | 683 | -178.7137 | 179.9694
TDA2_1_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 690 | 0 | 0 | 95 | 0 | 5.75
TDA2_1_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 690 | 0 | 0 | 3 | 7500 | 7502
TDA2_1_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 690 | 0 | 0 | 2 | 7500 | 7501
TDA2_1_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 690 | 0 | 0 | 3 | -1 | 1
TDA2_1_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 690 | 0 | 0 | 2 | 0 | 1
TDA2_1_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 690 | 0 | 0 | 2 | 0 | 1
TDA2_1_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 690 | 0 | 0 | 1 | 0 | 0
TDA2_1_custom_labelled_complete.csv | label | label | categórico | 690 | 0 | 0 | 2
TDA2_2_custom_labelled_complete.csv | frame.number | frame_number | entero | 857 | 0 | 0 | 857 | 441 | 1412053
TDA2_2_custom_labelled_complete.csv | TotW | tot_w | flotante | 857 | 0 | 0 | 824 | 0 | 4780.7051
TDA2_2_custom_labelled_complete.csv | TotVar | tot_var | flotante | 857 | 0 | 0 | 812 | 0 | 1204.8948
TDA2_2_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 857 | 0 | 0 | 843 | -0.24178 | 58.7931
TDA2_2_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 857 | 0 | 0 | 129 | 0 | 6.55
TDA2_2_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 857 | 0 | 0 | 3 | 7500 | 7502
TDA2_2_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 857 | 0 | 0 | 2 | 7500 | 7501
TDA2_2_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 857 | 0 | 0 | 3 | -1 | 1
TDA2_2_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 857 | 0 | 0 | 2 | 0 | 1
TDA2_2_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 857 | 0 | 0 | 2 | 0 | 1
TDA2_2_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 857 | 0 | 0 | 1 | 0 | 0
TDA2_2_custom_labelled_complete.csv | label | label | categórico | 857 | 0 | 0 | 2
TDA2_3_custom_labelled_complete.csv | frame.number | frame_number | entero | 974 | 0 | 0 | 974 | 1275 | 1605503
TDA2_3_custom_labelled_complete.csv | TotW | tot_w | flotante | 974 | 0 | 0 | 899 | -32.7654 | 4187.0405
TDA2_3_custom_labelled_complete.csv | TotVar | tot_var | flotante | 974 | 0 | 0 | 889 | 0 | 1231.6118
TDA2_3_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 974 | 0 | 0 | 950 | -179.4213 | 176.5296
TDA2_3_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 974 | 0 | 0 | 120 | 0 | 5.775
TDA2_3_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 974 | 0 | 0 | 3 | 7500 | 7502
TDA2_3_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 974 | 0 | 0 | 2 | 7500 | 7501
TDA2_3_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 974 | 0 | 0 | 3 | -1 | 1
TDA2_3_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 974 | 0 | 0 | 2 | 0 | 1
TDA2_3_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 974 | 0 | 0 | 2 | 0 | 1
TDA2_3_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 974 | 0 | 0 | 1 | 0 | 0
TDA2_3_custom_labelled_complete.csv | label | label | categórico | 974 | 0 | 0 | 2
TDA2_4_custom_labelled_complete.csv | frame.number | frame_number | entero | 807 | 0 | 0 | 807 | 503 | 1326033
TDA2_4_custom_labelled_complete.csv | TotW | tot_w | flotante | 807 | 0 | 0 | 736 | -158.5029 | 902.5212
TDA2_4_custom_labelled_complete.csv | TotVar | tot_var | flotante | 807 | 0 | 0 | 723 | 0 | 792.4783
TDA2_4_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 807 | 0 | 0 | 794 | -177.7002 | 176.6692
TDA2_4_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 807 | 0 | 0 | 27 | 0 | 1.4
TDA2_4_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 807 | 0 | 0 | 3 | 7500 | 7502
TDA2_4_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 807 | 0 | 0 | 2 | 7500 | 7501
TDA2_4_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 807 | 0 | 0 | 3 | -1 | 1
TDA2_4_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 807 | 0 | 0 | 2 | 0 | 1
TDA2_4_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 807 | 0 | 0 | 2 | 0 | 1
TDA2_4_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 807 | 0 | 0 | 1 | 0 | 0
TDA2_4_custom_labelled_complete.csv | label | label | categórico | 807 | 0 | 0 | 2
TDA2_5_custom_labelled_complete.csv | frame.number | frame_number | entero | 262 | 0 | 0 | 262 | 99 | 429757
TDA2_5_custom_labelled_complete.csv | TotW | tot_w | flotante | 262 | 0 | 0 | 253 | -162.1609 | 322.5713
TDA2_5_custom_labelled_complete.csv | TotVar | tot_var | flotante | 262 | 0 | 0 | 253 | 0 | 694.5322
TDA2_5_custom_labelled_complete.csv | Phv.neut.ang | phv_neut_ang | flotante | 262 | 0 | 0 | 260 | -1.3014 | 11.5413
TDA2_5_custom_labelled_complete.csv | A.phsA | a_phs_a | flotante | 262 | 0 | 0 | 17 | 0 | 1.025
TDA2_5_custom_labelled_complete.csv | vsd1_speed | vsd1_speed | entero | 262 | 0 | 0 | 3 | 7500 | 7502
TDA2_5_custom_labelled_complete.csv | vsd2_speed | vsd2_speed | entero | 262 | 0 | 0 | 2 | 7500 | 7501
TDA2_5_custom_labelled_complete.csv | scada_q2c_sync_activated | scada_q2c_sync_activated | entero | 262 | 0 | 0 | 3 | -1 | 1
TDA2_5_custom_labelled_complete.csv | q2c_in_sync | q2c_in_sync | booleano | 262 | 0 | 0 | 2 | 0 | 1
TDA2_5_custom_labelled_complete.csv | gen1_p_negative | gen1_p_negative | booleano | 262 | 0 | 0 | 2 | 0 | 1
TDA2_5_custom_labelled_complete.csv | gen2_p_negative | gen2_p_negative | booleano | 262 | 0 | 0 | 1 | 0 | 0
TDA2_5_custom_labelled_complete.csv | label | label | categórico | 262 | 0 | 0 | 2